Eastern and Southern Islands of Pohnpei survey

# 1.0 Introduction

The purpose of the assessment or survey is to collect water samples and do sanitation survey of the outer islands to learn the status of the outer islands water quality and sanitation. This is the first assessment of water quality and sanitation of the outer islands of Pohnpei and results can be very useful data for water quality projects or other projects of water and sanitation that may rise in the future. Also the result of the surveys will be part of the write up of the Community Health Assessment of Pohnpei.

# 1.1 Geographical Location

The eastern atoll islands are Mwoakilloa located at latitude 06° north and longitude 159° East and Pingelap located at latitude 05° north and longitude 160° east. The southern atoll island of Sapwuahfik is located at latitude 05° North and longitude 157° east.

# 1.2 Finding of drinking water survey

The drinking water surveys shows that, 9 of the 12 households that were surveyed in Pingelap do not treat their water at point of use, only 3 households’ practice boiling and adding bleach or chlorine method to disinfect their water sources. For the island of Mwoakilloa, 3 of 14 the households that were surveyed in Mwoakilloa do not treat their water at point of use, and 11 households’ practice boiling and adding bleach or chlorine method. These are the two islands located in the east. On the southern island of Sapwuahfik, 10 of the 12 households that were surveyed do not treat their source of water and only 2 households do boil or add chlorine to disinfect their drinking water. The survey also shows that 97% (percent) of the households on the three islands depend on rain catchment tanks as their main water source for drinking and cooking. Only 3% (percent) uses other sources like well water for cooking and drinking.

# 1.3 Finding of the sanitation survey

Based on the sanitation survey of islands, it shows that 97% of the households on the islands use flush/pour-flush toilet facilities. As for sharing of the facilities, 10 of the 12 households in Pingilap Island that were surveyed share their toilet facility with their neighbours. For Mwoakilloa, 8 of the 14 households that were surveyed share their toilet facilities with their neighbours. In Sapwuahfik, 10 of the 12 households that were surveyed share their toilet facilities with their neighbours. The survey also indicates number of houses that do not share their toilet facilities. 2 households out of the 12 households that were surveyed in Pingilap Island do not share their toilet facility with neighbours; On Mwoakilloa 6 households do not share and on Sapwuahfik 2 households do not share. The overall percentage of houses that use pit-latrine is 3%. This survey also shows that almost all the households that were surveyed have flush/pour-flush facilities. In addition, the survey did not cover the entire households of the islands but only some on each island. A comprehensive survey is needed to help verify the findings of the initial survey that was just completed.

# 1.4 Charts

Figure 1: Result of Drinking water sources surveyed on the eastern and southern islands shows that three islands are highly depend upon their water tanks for water supply and most of them do not treat their drinking water sources.

Figure 2: Result of the sanitation survey of the eastern and southern islands shows that flush/pour toilet facility is the common type that being use on the three other islands.

| Collecting sample from well-Pingelap Island | Sample from water tank-Pingelap school |
| --- | --- |

| Unsecure wells of Pingelap Island | Unsecure and not safe well of Pingelap |
| --- | --- |

| Well sampling on Sapwuahfik island | Tank sampling on Sapwuahfik |
| --- | --- |

# 1.5 Lab Analysis result of the islands (Pingelap, Mwoakilloa and Sapwuahfik Island)

Result of the samples shows that only two (2) meet the standard for drinking water and the samples are from the School (Pingelap Island). Four of the samples are low with E. coli and high in total coliform and fourteen (14) of the samples have E. coli and total coliform therefore they are consider not safe for drinking.

| Sample collection at households- Mwoakilloa | Sample at the school- Mwoakilloa Island |
| --- | --- |

Mwoakilloa Island sample results shows that four (4) households have a safe drinking water source meaning that their tanks samples are free of E. coli and total coliform. Three (3) of the samples are free of E. coli and have presence of total coliform. Nine (9) of the samples have both E. coli and total coliform presence therefore they are consider not safe for drinking.

Sapwuahfik island sample results shows that thirteen (13) of the following samples meet the standard for recreation only and Two (2) of the samples are above the recreational standard which is <576. None of the tanks are safe for drinking.

# 1.6 Definition

- E. coli- is a type of bacteria that normally live in the intestines of people and animals. However, some types of E. coli, particularly E. coli 0157:H7, can cause intestinal infection. Symptoms of intestinal infection include diarrhea, abdominal pain, and fever.

- Total coliform- include bacteria that are found in the soil, in water that has been influenced by surface water, and in human or animal waste.

- Sanitation- conditions relating to public health, especially the provision of clean drinking water and adequate sewage disposal.

- Survey- look closely at or examine (someone or something)

# 1.7 Recommendations

- A comprehensive survey of the island is highly needed to help verify the finding of this initial survey

- It is highly recommended that this kind of survey be carried out every six months

- Expand the survey or the assessment to all the outer islands of Pohnpei to have a complete information of the islands.

- Carry-out the same survey within the main island of Pohnpei since not all the communities’ use the PUC system.

# 1.8 Acknowledgement

The office of Pohnpei Environmental Protection Agency would like to thank FSM Health and Caroline Island Air for making this data collection of the outer islands a successful one and we hope that we could continue to work together in strengthening our duties and responsibilities in the future for the betterment of our island nation.

# INFORMATION

For questions and concerns please do contact the office of Environmental Protection Agency at 320-1780/1210.

Kalahngan,

Henry Susaia

Executive Officer

Pohnpei State EPA